## Slide 1: The Missions III – NuSTAR S/C & Instruments
Kristin Kruse Madsen
Caltech

## Slide 2
10 meters
FPMA & FPMB
OMA & OMB
Nuclear Spectroscopic Telescope ARray
3 – 79 KeV

## Slide 4: Collimated v. focusing optics
Integral

## Slide 5: The Galactic Center
Integral
Integral
Collimated:
Focused:

## Slide 6: Launch 13 June 2012
SMEX – Small Mission Explorer, smallest NASA satellite class, $150M

## Slide 7: Orbital mechanics
LEO, Low Earth Orbit @ 6 degrees.
Altitude ~600km
One orbit ~ 92 minutes
https://www.n2yo.com

## Slide 8: Effective Area

## Slide 9
X-rays bend slightly toward the surface (opposite from visible light) n= 1 -  - i
Refraction

## Slide 10
Critical condition for total external reflection
Critical angles are very small (< 1 degree)
External reflection
n= 1 -  - i

## Slide 11: Critical Angle

## Slide 12
Constructive interference
Crystal lattice
Braggs law: n = 2d sin()

## Slide 13
Few nm (10-9m) thickness
1/2000 of a mm
Constructive interference multilayers
Braggs law: n = 2d sin()

## Slide 14: Bragg peaks
Braggs law: n = 2d sin()
1st bragg peak
4th bragg peak
Kissing fringes

## Slide 15: Depth Graded Multilayers
Depth
Grading:
i = 1,N
i=1
N
High Z
Low Z
Braggs law:
n = 2d sin()
Material combinations:
W/Si K-edge: 69.53 keV
Pt/C K-edge: 78.4 keV
Typical parameters:
N = 145, 291
Dmin ~ 3 nm
Dmax ~ 12 nm

## Slide 16: Depth Graded Multilayers
Pt, 30 nm
Pt/C constant-10, D=10 nm
Pt/C mirror group 5
inc = 2.50 mrad
Braggs law: n = 2d sin()

## Slide 17: Optics
Conical Wolter I approximation
Parameter | Value
Minimum radius | 5.44 cm
Maximum radius | 19.12 cm
Mirror length | 22.7 cm
Focal Length | 1015 cm
Number of Shells | 133
Depth Graded Multilayers: | 
Inner shells (1 - 89) | Pt/C
Outer shells (90 - 133) | W/Si
Substrates:
Slumped Borosilicate t=0.21 mm

## Slide 18: PSF

## Slide 19: Focal Plane Detectors
CdZnTe
4 crystals (2 x 2 cm)
32 x 32 pixels/crystal
pixel pitch 0.6 mm
E/dE = 1 keV

## Slide 20: Anatomy lesson
Two modules: FPMA and FPMB
Each module has 4 detectors
Each detector has 32 x 32 pixels.
Physical pixel size: 12.3”
Software pixel size 1/5th of physical: 2.45”
FoV: 4 x 4 cm = 13.5’ x 13.5’
4 cm, 13.5’
Det 1
Det 0
Det 2
Det 3

## Slide 21: Hybrid Detector Design
Epoxy-gold stud interconnect
2mm thick CdZnTe
0.6 mm
ASIC (application-specific integrated circuit)
Each physical pixel is subdivided in 5x5

## Slide 22: Hybrid Architecture
ASIC readouts bipolar signal, so collects signal from both electrons and holes.
- Largest pulse height
- non-triggered (Hole signal)
9-pixel read out
When triggered, reads out a 3x3 grid

## Slide 23: Observed CdZnTe Spectra
57Co
155Eu
241Am
0.6 keV FWHM
Low-energy tail due to poor hole transport
86.54 keV
59.54 keV
122 keV

## Slide 24: Detector Efficiency
Detector 0
Detector 1
Detector 2
Detector 3
Escape lines
Cd & Te
Thickness of detector variations

## Slide 25: Deadtime
When a photon triggers the threshold, the entire module freezes and will no longer register a photon until the previous photon has been read out.
This period is called the DEADTIME and lasts for ~ 2.5ms.
The actual exposure time for a source is therefore:
Exposure = on time * % livetime
33ms pulse profile
Deadtime
distortion
Deadtime
corrected

## Slide 26: Operation
http://www.srl.caltech.edu/NuSTAR_Public/NuSTAROperationSite/Home.php
http://www.nustar.caltech.edu
One Guest Observer call per year: https://heasarc.gsfc.nasa.gov/docs/nustar/nupropthread.html
  Just had AO-9 in January 26
  Next AO-10 will be in January 2024

## Slide 27: SAA passages
For each orbit, the target is occulted about 40-50 % of the time due to the earth getting in the way and because of the SAA (South Atlantic Anomaly)
Occultation
SAA passage

## Slide 28: What is NuSTAR good at
Broadband spectroscopy
  3 – 78 keV
Hard X-rays > 10 keV
Bright targets
  Not affected by pileup like CCDs

## Slide 29: NuSTAR synergy
NGC 1365
Risaliti et al, Nature, 2013

## Slide 30: NuSTAR synergy
NGC 1365
Risaliti et al, Nature, 2013

## Slide 31: Clumpy torus
NGC 1068
Bauer et al, Apj, 2015
Marinucci et al, MNRAS, 2016
Zaino et al, MNRAS, 2020
Indrani et al, MNRAS, 2022

## Slide 32
Extreme Physics of Accretion
Black Hole Spin and Mass
(Reflection Spectroscopy
And Reverberation Mapping)
Physical Properties of the X-ray Corona
Jet Formation and Power
Temporal Evolution of the Central Engine
Probe Extreme Gravity: High-Density Plasmas, Tests of GR, etc.
Disk Inner-Radius Estimates:
Properties of the Accretion Flow,
Neutron Star Equation of State
Notes: While I have until now mostly talked about understanding the numbers and populations, we need to understand the physics that is responsible for the light we observe as well. At the heart of most X-ray phenomena lies accretion and in the basic picture, there is an accretion disk, emitting in the UV which are up-scattered by the corona, situated somewhere above. The accretion power is presumably supplied to the corona though magnetic fields wound up by the disc that intensely heat coronal electrons, which then cool rapidly by Comptonizing the lower energy photons above the accretion disc. The result is a hard X-ray power-law spectrum extending to just above the temperature of the bulk of the electrons. Some of this emission is also reflected off the thick accretion disk, generating a spectrum with an iron line and a characteristic Compton hump. By studying each of these components which are interleaved we learn vital facts about the geometry of accretion as shown here.

## Slide 33
GX 339-4
Garcia et al, ApJ, 2019

## Slide 34: Cyclotron lines
Sharma et al, MNRAS, 2022
HMXB GRO J1750-27
Diez et al, A&A, 2022
Vela X-1

## Slide 35: Pulsars
G11.2+0.3
Madsen et al, ApJ, 2020
LMC X-4
McKinley et al, ApJ, 2019
ULX M82 X-2
Bachetti et al, ApJ, 2020

## Slide 36: Cross-calibration with other observatories
Resources: International Consortium for High Energy Calibration (IACHEC) https://iachec.org

## Slide 37: Bright Sources
NH
Countrate
Her X-1
MAXI J1820-070
GRS 1915+105
J1658d2-4242
GRS 1915+105
GRO J1744-28
GX13+1
MAXI J1820+070

## Slide 38: How NuSTAR points
Mast
Focal Plane Bench
Spacecraft Bus
Optical Bench
startracker
InertialOB
InertialFB
NuSTAR points from the rear (FB) and because thermal gradients cause the mast to bend, a laser metrology system keeps track of where the two benches are relative to each other.
The star tracker at the top is co-aligned with the optics and knows where the observatory is pointed with respect to the sky.

## Slide 39: Reconstruction of sky images
Tmast, Qmast
+ InertialOB
Det1 coordinate system
Sky coordinate system

## Slide 40: Ghost rays

## Slide 41: Ghost rays

## Slide 42: Stray Light

## Slide 43: Background
NuSTAR Observations of the Bullet Cluster: Constraints on Inverse Compton Emission Wik, Daniel R., Hornstrup, A., Molendi, S., et al., 2014, ApJ, 792, 48

## Slide 44: Background spectrum
Aperture: varies with location on the sky.
Solar: varies with solar activity.
fCXB (focused Cosmic X-ray Background): Same as aperture, but focused.
Internal lines: varies with particle background.
Internal continuum: fairly stable.

## Slide 45: MLI tear on the backside of FPMA

## Slide 48: Instrument Summary